Supply of Air Quality Monitoring Sensors

within the framework of the EU-funded Project

Ecolinks 2, administered by UNDP Georgia

# Publication reference: 089/RECC/G/UNDP/FLIP/2026.10

TENDER FORM FOR A SUPPLY CONTRACT

Company Name : ……….…….………………………

TENDER FORM FOR A SUPPLY

CONTRACT

# Publication reference: 089/RECC/G/UNDP/FLIP/2026.10

Title of contract: Supply of Air Quality Monitoring Sensors

<Place and date>

A: Contracting Organization: REC Caucasus, Mtskheta Str. 48-50, 0179 Tbilisi, Georgia

One signed form must be supplied, together with the number of copies specified in the Instruction to Tenderers. The form must include a signed declaration using the annexed format from each legal entity making the application. Any additional documentation (brochure, letter, etc) sent with the form will not be taken into consideration. Applications being submitted by a consortium (ie, either a permanent, legally-established grouping or a grouping which has been constituted informally for a specific tender procedure) must follow the instructions applicable to the consortium leader and its members. The attachments to this submission form (i.e. declarations, statements, proofs) may be in original or copy. If copies are submitted, the originals must be dispatched to the Contracting Organization upon request. For economic and ecological reasons, we strongly recommend that you submit your files on paper-based materials (no plastic folder or divider). We also suggest you use double-sided print-outs as much as possible.

An economic operator may, where appropriate and for a particular contract, rely on the capacities of other entities, regardless of the legal nature of the links which it has with them. It must in that case prove to the Contracting Organization that it will have at its disposal the resources necessary for performance of the contract, for example by producing an undertaking on the part of those entities to place those resources at its disposal. Such entities, for instance the parent company of the economic operator, must respect the same rules of eligibility and notably that of nationality, as the economic operator.

# 1	SUBMITTED BY

|  | Name(s) of tenderer(s) | Nationality |
| --- | --- | --- |
| Leader |  |  |
| Member |  |  |
| Etc … |  |  |

# 2	CONTACT PERSON (for this tender)

| Name |  |
| --- | --- |
| Address |  |
| Telephone |  |
| Fax |  |
| E-mail |  |

# TENDERER'S DECLARATION(S)

As part of their tender, each legal entity identified under point 1 of this form, including every consortium member, must submit a signed declaration using this format. The declaration may be in original or in copy. If copies are submitted the originals must be dispatched to the Contracting Organization upon request.

In response to your letter of invitation to tender for the above contract, we, the undersigned, hereby declare that:

- We have examined and accept in full the content of the dossier for invitation to tender No.

089/RECC/G/UNDP/FLIP/2026.10 We hereby accept its provisions in their entirety, without reservation or restriction.

- We offer to deliver, in accordance with the terms of the tender dossier and the conditions and time limits laid down, without reserve or restriction:

Supply of Air Quality Monitoring Sensors

- The price of our tender (DDP, or DAP for tenderers established outside Georgia, REC Caucasus office, Tbilisi, as indicated in Annex II, including all applicable taxes) is:

……………………………  [currency: GEL / USD / EUR]

- We will grant a discount of   …. %.

- This tender is valid for a period of 90 days from the final date for submission of tenders.

- Our firm/company [and our subcontractors] has/have the following nationality:

<Country of establishment>

- We are making this tender in our own right [if consortium: as member in the consortium led by < name of the leader / ourselves >]. We confirm that we are not tendering for the same contract in any other form. [We confirm, as a member in the consortium, that all members are jointly and severally liable by law for the execution of the contract, that the lead member is authorised to bind, and receive instructions for and on behalf of, each member, that the execution of the contract, including payments, is the responsibility of the lead member, and that all members in the joint venture/consortium are bound to remain in the joint venture/consortium for the entire period of the contract's execution].

- We are not in any of the situations excluding us from participating in contracts which are listed section 2.3.3 of the Practical Guide to contract procedure for EU external actions. In the event that our tender is successful, we undertake, if required, to provide the proof usual under the law of the country in which we are established that we do not fall into these exclusion situations. The date on the evidence or documents provided will be no earlier than 1 year before the date of submission of the tender and, in addition, we will provide a statement that our situation has not altered in the period which has elapsed since the evidence in question was drawn up.

We also undertake, if required, to provide evidence of the financial and economic standing and the technical and professional capacity according to the selection criteria for this call for tender specified in the procurement notice, point 16 and other. documentary proofs required

We also understand that if we fail to provide the proof/evidence required, within 15 calendar days after receiving the notification of award, or if the information provided is proved false, the award may be considered null and void.

- We agree to abide by the ethics clauses in Clause 22 of the instructions to tenderers and, in particular, have no conflict of interests or any equivalent relation in that respect with other tenderers or other parties in the tender procedure at the time of the submission of this application.

- We will inform the Contracting Organization immediately if there is any change in the above circumstances at any stage during the implementation of the tasks. We also fully recognise and accept that any inaccurate or incomplete information deliberately provided in this application may result in our exclusion from this contract.

- We note that the Contracting Organization is not bound to proceed with this invitation to tender and that it reserves the right to award only part of the contract. It will incur no liability towards us should it do so.

- We fully recognise and accept that we may be excluded from tender procedures and contract. Furthermore, we acknowledge that, should we made false declarations, committed substantial errors, irregularities or fraud.

- We are aware that our personal data may be transferred to the Contracting Organization’s internal audit services for the purposes of this tender/contract.

Yours faithfully

Name and first name: <[…………………………………………………………………>

Duly authorised to sign this tender on behalf of:

<…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….>]

Stamp of the firm/company (if applicable)

ANNEXES TO TENDER FORM

FOR A SUPPLY CONTRACT

Supply of Air Quality Monitoring Sensors

within the framework of the EU-funded Project “Joint Action for Clean Air” (Ecolinks 2), administered by UNDP Georgia

Publication reference:

089/RECC/G/UNDP/FLIP/2026.10

Part 1: Technical offer

Detailed description of the supplies tendered in conformity with the technical specifications, including any documentation required, including if applicable.

# General Instructions for Technical Specifications

- General Instructions

    - Description of the work

1.1.1 The subject of the contract is the Supply of Air Quality Monitoring Sensors, each supplied as a complete unit (monitoring unit, solar power kit, connectivity, data platform subscription and onboarding), with the solar power kit either included in the unit price or priced separately, and consumables priced separately.

1.1.2	The tenderer should ensure that the functions and features of the supplies (monitoring units, solar power kits, connectivity, data platform access and consumables) meet the listed minimum conditions.

1.2.	Technical Requirements

1.2.1.	As appropriate all the supplies shall be provided complete with the necessary accessories and/or parts such as to ensure that the unit is capable of operating to the required technical and quality specifications. All Technical Specifications provided for the various supplies are minimum requirements, Contractors are expected to offer current models which may exceed the requirements or have additional features not specified.

1.2.2.	The supplies are to be delivered in accordance with the notes in the Technical Specifications.

1.2.3.	The supplies provided should not be hybrids and should be a registered brand name.

1.2.4.	All supplies must be suitable for continuous outdoor operation in the climatic conditions of Georgia, including the humid and saline conditions of the Black Sea coast.

1.2.5.	All supplies conforming to the necessary regulation/norm and/or equivalent as detailed in the individual Technical Specifications must carry a suitable badge/mark of conformity, permanently fixed to the item.

1.2.6.	Wherever a product name is mentioned in the Technical Specifications it is understood to mean that product or its direct equivalent.

1.2.7	REC Caucasus may provide stickers with the project and donor logos to be placed on the supplies. Trademarks or brand logos should not be fixed or placed in a way that allows them to be used as company advertisement on the procured equipment.

1.2.8 Tenderers shall comply with the EU, UNDP and REC Caucasus visibility guidelines, as communicated by REC Caucasus.

1.3.	Warranty and product support services

1.3.1 The Contractor will be expected to provide a warranty for all the supplies of at least 24 months (12 months for gas sensor modules) from the date of provisional acceptance, which must cover the following items:

1.3.2 The contractor shall warrant that the supplies are new, unused, of the most recent models and incorporate all recent improvements in design and materials, unless  otherwise provided in the contract. The contractor shall further warrant that all supplies shall have no defect arising from design, materials or workmanship, except insofar as the design or materials are required by the specifications, or from any act  or  omission,  that  may develop under use of the supplies in the conditions obtaining in the country of  the contracting organization.

1.3.3. The contractor shall be responsible for making good any defect in, or damage to, any part of the supplies which may appear or occur during the warranty period and which:

a)   results from the use of defective materials, faulty workmanship or design of the contractor; and/or

b)   results from any act or omission of the contractor during the warranty period;

and/or

c)   appears in the course of an inspection made by, or on behalf of, the contracting organization.

1.3.4. The contractor shall at its own cost make  good  the  defect  or  damage  as  soon  as practicable. The warranty period for all items replaced or repaired shall recommence from the date when the replacement or repair was made to the satisfaction of the project coordinator. If the contract provides for partial acceptance, the warranty period shall be extended only for the part of the supplies affected by the replacement or repair.

1.3.5. If any such defect appears or such  damage  occurs  during  the  warranty  period,  the contracting organization or the project coordinator shall notify the contractor. If the contractor fails to remedy a defect or damage within the time limit stipulated in the notification, the contracting organization may:

a)   remedy the defect or the damage itself, or employ someone else to carry out the tasks at the contractor's risk and cost, in which case the costs incurred by the contracting organization shall be deducted from monies due to or from guarantees held against the contractor or from both; or

b)   terminate the contract.

1.3.6	If the Contractor appoints a local representative for his company, then the Contracting Organization expects that representative to provide a professional service of maintenance. The Contractor will remain responsible for the level of service which the representative delivers and will be answerable to the Contracting Organization in the event of any complaint.

1.3.7.	Repair or replace faulty parts or modules.

1.3.8	The contractor must prove evidence that facilities for warranty offered are available for supplies offered in the delivery point.

1.4	Technical documents to be included in the supply:

The required supplies, particularly but not exclusively, shall be provided with an original set of installation, operating and maintenance manuals and user guides in English (Georgian or Russian versions, where available), and with the individual calibration certificate of each unit.

ANNEX I - MODEL TECHNICAL OFFER

Contract title: Supply of Air Quality Monitoring Sensors in Georgia

## Publication reference: 089/RECC/G/UNDP/FLIP/2026.10

Column 1-2 should be completed by the Contracting Organization

Column 3-4 should be completed by the tenderer

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 1- 2 is completed by the Contracting Organization shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the Selection Committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

Technical Specification     Ref. Number /089/RECC/G/UNDP/FLIP/2026.10

|  | Items | Specifications Required | Specifications Offered (incl. brand/model) | Notes, remarks, ref. to documentation |
| --- | --- | --- | --- | --- |
| 1 | Air Quality Monitoring Unit, Configuration A (NO₂ + O₃) | Bundle: The unit price shall include the complete monitoring unit, mounting kit, cellular data connectivity and data platform subscription for at least 24 months, and a share of the remote onboarding. The solar power kit is a required part of each unit and may either be included in the unit price or priced separately in the dedicated column of Annex II. Consumables are priced separately (Item 3) Purpose: Standalone outdoor air quality monitoring station for continuous, unattended operation, without any wired power or data connection Gas parameters: NO₂ and O₃ Gas measurement method: Electrochemical sensors NO₂: Range at least 0-1,000 µg/m³; resolution 1 µg/m³ or better O₃: Range at least 0-1,000 µg/m³; resolution 1 µg/m³ or better Particulate matter: PM1, PM2.5 and PM10, measured by laser particle counter (optical laser scattering); range at least 0-500 µg/m³; resolution 1 µg/m³ Temperature: Semiconductor sensor; range at least -20 °C to +50 °C; accuracy ±1 °C or better Relative humidity: Semiconductor sensor; range 0-100% RH; accuracy ±5% RH or better Atmospheric pressure: Digital barometric sensor; range at least 800-1,100 hPa; accuracy ±2 hPa or better Data reporting: All parameters reported at intervals of 15 minutes or shorter; internal data buffering during loss of connection, with automatic upload on reconnection Solar power kit: Solar panel, rechargeable battery and charge controller (the sensor manufacturer’s own kit or a third-party kit) for autonomous year-round operation without mains power Power output: Stable output at the sensor’s rated voltage, able to sustain the sensor’s peak current during data transmission (not only its average draw) without voltage drop or reset Battery autonomy: At least 5 consecutive days of operation without solar charging at the sensor’s average consumption, after allowance for converter losses and low-temperature capacity loss Solar panel: Sized to fully recharge the battery under winter irradiance on the Georgian Black Sea coast Power protection: Charge controller with overcharge and deep-discharge protection; battery and controller in a weatherproof enclosure (minimum IP54), operating temperature at least -20 °C to +50 °C Power data to state: Sensor rated voltage, peak current, average and peak consumption (W); panel rated power (W); battery chemistry and usable capacity (Wh); calculated autonomy (days) Power compatibility: Where a third-party kit is offered, written confirmation from the sensor manufacturer that the kit has been checked against the sensor’s power requirements. Data gaps or resets caused by the power supply are the Contractor’s responsibility during the warranty period Connectivity: Built-in cellular modem (LTE, LTE-M or NB-IoT; 2G fallback acceptable) with SIM or eSIM, compatible with mobile networks operating in Georgia; no Wi-Fi or wired connection required; data plan included for at least 24 months from provisional acceptance Data platform: Access to the manufacturer’s cloud data platform for at least 24 months from provisional acceptance, at no further charge, for all units under a single organisational account with at least 5 user accounts; real-time and historical data visualisation, map view, data export in CSV or equivalent open format, API access Data ownership: All measurement data remain the property of REC Caucasus and can be exported at any time, including after expiry of the subscription Onboarding: One remote training session for all units (minimum 2 hours, in English or Russian) on configuration, commissioning, platform use and data export, within 30 days of provisional acceptance; remote technical assistance during commissioning Calibration: Factory calibrated, with an individual calibration certificate per unit (delivered with the units; a sample certificate to be submitted with the tender); gas readings compensated for temperature and humidity; evidence of independent performance evaluation of the offered model or its PM sensor (e.g. MCERTS, AQ-SPEC or equivalent) to be provided Housing: Weatherproof enclosure for permanent outdoor installation, minimum IP54 or equivalent; UV-resistant; suitable for humid and saline coastal conditions; operating temperature at least -20 °C to +50 °C Mounting: Mounting kit for pole and wall installation of the unit and solar power kit (brackets, clamps, fasteners, cables) included Equivalence: Items 1 and 2 shall be supplied by the same manufacturer, use identical PM, temperature, humidity and pressure sensors, and report to the same data platform under a single account (see Item 2) Warranty: Minimum 24 months from provisional acceptance for the unit and solar power kit (gas sensor modules: minimum 12 months) Warranty service: All costs of shipping, customs clearance and replacement for warranty repairs are borne by the Contractor; repaired or replacement units to be delivered to Tbilisi within 30 calendar days of notification Documentation: Installation, operation and maintenance manuals in English (Georgian or Russian versions, where available) |  |  |
| 2 | Air Quality Monitoring Unit, Configuration B (NO₂ + SO₂) | Bundle: The unit price shall include the complete monitoring unit, mounting kit, cellular data connectivity and data platform subscription for at least 24 months, and a share of the remote onboarding. The solar power kit is a required part of each unit and may either be included in the unit price or priced separately in the dedicated column of Annex II. Consumables are priced separately (Item 3) Purpose: Standalone outdoor air quality monitoring station for continuous, unattended operation, without any wired power or data connection Gas parameters: NO₂ and SO₂ Gas measurement method: Electrochemical sensors NO₂: Range at least 0-1,000 µg/m³; resolution 1 µg/m³ or better SO₂: Range at least 0-1,000 µg/m³; resolution 1 µg/m³ or better Particulate matter: PM1, PM2.5 and PM10, measured by laser particle counter (optical laser scattering); range at least 0-500 µg/m³; resolution 1 µg/m³ Temperature: Semiconductor sensor; range at least -20 °C to +50 °C; accuracy ±1 °C or better Relative humidity: Semiconductor sensor; range 0-100% RH; accuracy ±5% RH or better Atmospheric pressure: Digital barometric sensor; range at least 800-1,100 hPa; accuracy ±2 hPa or better Data reporting: All parameters reported at intervals of 15 minutes or shorter; internal data buffering during loss of connection, with automatic upload on reconnection Solar power kit: Solar panel, rechargeable battery and charge controller (the sensor manufacturer’s own kit or a third-party kit) for autonomous year-round operation without mains power Power output: Stable output at the sensor’s rated voltage, able to sustain the sensor’s peak current during data transmission (not only its average draw) without voltage drop or reset Battery autonomy: At least 5 consecutive days of operation without solar charging at the sensor’s average consumption, after allowance for converter losses and low-temperature capacity loss Solar panel: Sized to fully recharge the battery under winter irradiance on the Georgian Black Sea coast Power protection: Charge controller with overcharge and deep-discharge protection; battery and controller in a weatherproof enclosure (minimum IP54), operating temperature at least -20 °C to +50 °C Power data to state: Sensor rated voltage, peak current, average and peak consumption (W); panel rated power (W); battery chemistry and usable capacity (Wh); calculated autonomy (days) Power compatibility: Where a third-party kit is offered, written confirmation from the sensor manufacturer that the kit has been checked against the sensor’s power requirements. Data gaps or resets caused by the power supply are the Contractor’s responsibility during the warranty period Connectivity: Built-in cellular modem (LTE, LTE-M or NB-IoT; 2G fallback acceptable) with SIM or eSIM, compatible with mobile networks operating in Georgia; no Wi-Fi or wired connection required; data plan included for at least 24 months from provisional acceptance Data platform: Access to the manufacturer’s cloud data platform for at least 24 months from provisional acceptance, at no further charge, for all units under a single organisational account with at least 5 user accounts; real-time and historical data visualisation, map view, data export in CSV or equivalent open format, API access Data ownership: All measurement data remain the property of REC Caucasus and can be exported at any time, including after expiry of the subscription Onboarding: One remote training session for all units (minimum 2 hours, in English or Russian) on configuration, commissioning, platform use and data export, within 30 days of provisional acceptance; remote technical assistance during commissioning Calibration: Factory calibrated, with an individual calibration certificate per unit (delivered with the units; a sample certificate to be submitted with the tender); gas readings compensated for temperature and humidity; evidence of independent performance evaluation of the offered model or its PM sensor (e.g. MCERTS, AQ-SPEC or equivalent) to be provided Housing: Weatherproof enclosure for permanent outdoor installation, minimum IP54 or equivalent; UV-resistant; suitable for humid and saline coastal conditions; operating temperature at least -20 °C to +50 °C Mounting: Mounting kit for pole and wall installation of the unit and solar power kit (brackets, clamps, fasteners, cables) included Equivalence: Items 1 and 2 shall be supplied by the same manufacturer, use identical PM, temperature, humidity and pressure sensors, and report to the same data platform under a single account (see Item 1) Warranty: Minimum 24 months from provisional acceptance for the unit and solar power kit (gas sensor modules: minimum 12 months) Warranty service: All costs of shipping, customs clearance and replacement for warranty repairs are borne by the Contractor; repaired or replacement units to be delivered to Tbilisi within 30 calendar days of notification Documentation: Installation, operation and maintenance manuals in English (Georgian or Russian versions, where available) |  |  |
| 3 | Consumables kit (24 months of operation per unit) | Content: Consumables recommended by the manufacturer for 24 months of operation of one unit (e.g. PM sensor inlet filters, dust and insect screens, seals); tenderer to list the content of the kit Note: If the offered units require no consumables, tenderer to state so and enter 0 in Annex II Delivery: Together with Items 1 and 2 |  |  |

Name and first name: <…………………………………………………………………>

Duly authorized to sign this tender on behalf of:   <…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….> Stamp of the firm/company

Part 2: Financial offer

ANNEX II - BUDGET BREAKDOWN (MODEL FINANCIAL OFFER)

PUBLICATION REFERENCE: 089/RECC/G/UNDP/FLIP/2026.10

NAME OF TENDERER: 	 [……………………………]

CURRENCY OF TENDER: 	 [GEL / USD / EUR]

DELIVERY BASIS (INCOTERMS 2020): 	 [DDP / DAP] REC Caucasus office, Tbilisi

|  | Items | Unit | Quantity | Unit Cost incl. all applicable taxes [currency] | Solar power kit included in Unit Cost? [Yes / No] | Solar power kit unit cost, if priced separately [currency] | Total Cost [Quantity × (Unit Cost + separately priced solar power kit)] [currency] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Air Quality Monitoring Unit, Configuration A (NO₂ + O₃) | Nos | 6 |  |  |  |  |
| 2 | Air Quality Monitoring Unit, Configuration B (NO₂ + SO₂) | Nos | 2 |  |  |  |  |
| 3 | Consumables kit (24 months of operation per unit) | Set | 8 |  | n/a | n/a |  |
|  | Sum Material Price |  |  |  |  |  |  |
|  | Cost of delivery to the REC Caucasus office, Tbilisi (DDP: transport, insurance, customs clearance, import duties and taxes; DAP: transport and insurance only) |  |  |  |  |  |  |
| TOTAL [Sum Material Price + Cost of delivery] |  |  |  |  |  |  |  |
| Discount (if any) |  |  |  |  |  |  |  |
| OVERALL PRICE [TOTAL - Discount (if any)] |  |  |  |  |  |  |  |

Name and first name: <[…………………………………………………………………>

Duly authorized to sign this tender on behalf of: <…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….>]

Stamp of the firm/company (if applicable)

Part 3: Documentation

| 3.1 | Business Registration Extract on entity (or entities if consortium) from the Registry of Entrepreneurs and Non-entrepreneurial (Non-commercial) Legal Entities – issued after announcement date of this call by the National Agency of Public Registry (NAPR) www.napr.gov.ge ტენდერის გამოცხადების თარიღის შემდეგ განახლებული ამონაწერი მეწარმეთა და არასამეწარმეო (არაკომერციული) იურიდიული პირების რეესტრიდან |
| --- | --- |
| 3.2 | Certificate form from the Register of Debtors on entity (or entities if consortium) – issued after announcement date of this call by the National Bureau of Enforcement (NBE) www.nbe.gov.ge ტენდერის გამოცხადების თარიღის შემდეგ აღსრულების ეროვნული ბიუროს მიერ გაცემული ცნობა ან ამონაწერი ტენდერში მონაწილე იურიდიულ პირზე მოვალეთა რეესტრში არსებული მონაცემების შესახებ http://nbe.gov.ge/index.php?lang_id=GEO&sec_id=367 |
| 3.3 | Certificate on absence of tax arrears, issued after the announcement date of this call by the Revenue Service. https://www.rs.ge ტენდერის გამოცხადების თარიღის შემდეგ აღებული ცნობა ტენდერში მონაწილე ორგანიზაციაზე გაცემული ცნობა შემოსავლების სამსახურიდან, ბიუჯეტის მიმართ დავალიანების არ არსებობის შესახებ https://www.rs.ge |
| 3.4 | The details of the bank account issued by the tenderer’s service bank into which payments should be made [Bank Details of Account in the currency of the tender; for accounts outside Georgia, including IBAN and SWIFT/BIC] ტენდერში მონაწილე იურიდიული პირის საბანკო რეკვიზიტები ტენდერის ვალუტაში (საქართველოს ფარგლებს გარეთ არსებული ანგარიშისთვის, IBAN და SWIFT/BIC კოდის ჩათვლით) |
| 3.5 | Tenderers established outside Georgia: instead of documents 3.1-3.3, equivalent documents issued by the competent authorities of the country of establishment (company registration extract; certificate of absence of insolvency or winding-up proceedings; certificate of absence of tax arrears), issued no earlier than three months before the deadline for submission of tenders, or a sworn declaration where such certificates are not issued. Legalisation or apostille is not required at tender stage; documents not in Georgian or English must be accompanied by an English translation. The successful tenderer may be asked to provide originals or certified copies before signature of the contract საქართველოს ფარგლებს გარეთ რეგისტრირებული პრეტენდენტებისთვის: 3.1-3.3 პუნქტებში მითითებული დოკუმენტების ნაცვლად, რეგისტრაციის ქვეყნის უფლებამოსილი ორგანოების მიერ გაცემული ეკვივალენტური დოკუმენტები (ამონაწერი სამეწარმეო რეესტრიდან; ცნობა გადახდისუუნარობის ან ლიკვიდაციის პროცესის არარსებობის შესახებ; ცნობა საგადასახადო დავალიანების არარსებობის შესახებ), გაცემული სატენდერო წინადადებების წარდგენის ბოლო ვადამდე არაუადრეს სამი თვისა, ან ფიცით დადასტურებული განცხადება, თუ ასეთი ცნობები არ გაიცემა. სატენდერო ეტაპზე დოკუმენტების ლეგალიზაცია ან აპოსტილი არ მოითხოვება; ქართულ ან ინგლისურ ენაზე არარსებულ დოკუმენტებს უნდა ერთვოდეს ინგლისური თარგმანი. გამარჯვებულ პრეტენდენტს ხელშეკრულების გაფორმებამდე შეიძლება მოეთხოვოს ორიგინალების ან დამოწმებული ასლების წარდგენა |
| 3.6 | Technical documentation: manufacturer’s datasheets for each offered model, including the solar power kit; evidence of independent performance evaluation of the offered model or its PM sensor (e.g. MCERTS, AQ-SPEC or equivalent); a sample individual calibration certificate; for the solar power kit, the power data and autonomy calculation required in Annex I ტექნიკური დოკუმენტაცია: შემოთავაზებული თითოეული მოდელის (მზის ენერგიის კომპლექტის ჩათვლით) მწარმოებლის ტექნიკური მონაცემების ფურცლები (datasheets); შემოთავაზებული მოდელის ან მისი PM სენსორის დამოუკიდებელი შეფასების დამადასტურებელი დოკუმენტი (მაგ. MCERTS, AQ-SPEC ან ეკვივალენტური); ინდივიდუალური კალიბრაციის სერტიფიკატის ნიმუში; მზის ენერგიის კომპლექტისთვის, I დანართით მოთხოვნილი კვების მონაცემები და ავტონომიურობის გაანგარიშება |
| 3.7 | Manufacturer’s authorisation letter (where the tenderer is not the manufacturer), confirming that the tenderer is authorised to supply the offered equipment in Georgia and that the manufacturer’s warranty applies; where a third-party solar kit is offered, the sensor manufacturer’s written confirmation of power compatibility მწარმოებლის ავტორიზაციის წერილი (თუ პრეტენდენტი არ არის მწარმოებელი), რომელიც ადასტურებს პრეტენდენტის უფლებამოსილებას, მიაწოდოს შემოთავაზებული აღჭურვილობა საქართველოში და რომ მასზე ვრცელდება მწარმოებლის გარანტია; მესამე მხარის მზის ენერგიის კომპლექტის შემოთავაზების შემთხვევაში, სენსორის მწარმოებლის წერილობითი დადასტურება კვების თავსებადობის შესახებ |
| 3.8 | Proof of signatory authority (statutes, power of attorney, notarial statement, etc.), where the person signing the tender is not listed with management or representative powers in the registration extract ხელმომწერი პირის უფლებამოსილების დამადასტურებელი დოკუმენტი (წესდება, მინდობილობა, ნოტარიული დოკუმენტი და სხვ.), თუ ტენდერს ხელს აწერს პირი, რომელიც რეგისტრაციის ამონაწერში არ არის მითითებული ხელმძღვანელობის ან წარმომადგენლობის უფლებამოსილების მქონე პირად |