Supply, Delivery, and Commissioning of Blueberry Juice Production Machinery and a 20 kW Ground-Mounted Solar Power Plant

Within the framework of the GIZ project grant agreement titled: Promoting Green Deal Readiness in the Eastern Partnership Countries (PROGRESS).

# Publication reference: 073/RECC/G/GIZ/ProGress 2026 SC01

TENDER FORM FOR A SUPPLY CONTRACT

Company Name : ……….…….………………………

TENDER FORM FOR A SUPPLY

CONTRACT

# Publication reference:  073/RECC/G/GIZ/ProGress 2026 SC01

Title of contract:  Supply, Delivery, and Commissioning of Blueberry Juice Production Machinery and a 20 kW Ground-Mounted Solar Power Plant

<Place and date>

A: Contracting Organization: REC Caucasus, Mtskheta Str. 48-50, 0179 Tbilisi, Georgia

One signed form must be supplied, together with the number of copies specified in the Instruction to Tenderers. The form must include a signed declaration using the annexed format from each legal entity making the application. Any additional documentation (brochure, letter, etc) sent with the form will not be taken into consideration. Applications being submitted by a consortium (ie, either a permanent, legally-established grouping or a grouping which has been constituted informally for a specific tender procedure) must follow the instructions applicable to the consortium leader and its members. The attachments to this submission form (i.e. declarations, statements, proofs) may be in original or copy. If copies are submitted, the originals must be dispatched to the Contracting Organization upon request. For economic and ecological reasons, we strongly recommend that you submit your files on paper-based materials (no plastic folder or divider). We also suggest you use double-sided print-outs as much as possible.

An economic operator may, where appropriate and for a particular contract, rely on the capacities of other entities, regardless of the legal nature of the links which it has with them. It must in that case prove to the Contracting Organization that it will have at its disposal the resources necessary for performance of the contract, for example by producing an undertaking on the part of those entities to place those resources at its disposal. Such entities, for instance the parent company of the economic operator, must respect the same rules of eligibility and notably that of nationality, as the economic operator.

# 1	SUBMITTED BY

|  | Name(s) of tenderer(s) | Nationality |
| --- | --- | --- |
| Leader |  |  |
| Member |  |  |
| Etc … |  |  |

# 2	CONTACT PERSON (for this tender)

| Name |  |
| --- | --- |
| Address |  |
| Telephone |  |
| Fax |  |
| E-mail |  |

# TENDERER'S DECLARATION(S)

As part of their tender, each legal entity identified under point 1 of this form, including every consortium member, must submit a signed declaration using this format. The declaration may be in original or in copy. If copies are submitted the originals must be dispatched to the Contracting Organization upon request.

In response to your letter of invitation to tender for the above contract, we, the undersigned, hereby declare that:

- We have examined and accept in full the content of the dossier for invitation to tender No.

073/RECC/G/GIZ/ProGress 2025 SC011 We hereby accept its provisions in their entirety, without reservation or restriction.

- We offer to deliver, [Lot 1 and/or Lot 2 - Please specify which lot(s) you are bidding for]  in accordance with the terms of the tender dossier and the conditions and time limits laid down, without reserve or restriction:

Supply, Delivery, and Commissioning of Blueberry Juice Production Machinery and a 20 kW Ground-Mounted Solar Power Plant

- The price of our tender without VAT is:

………………………….

- We will grant a discount of   …. %.

- This tender is valid for a period of 90 days from the final date for submission of tenders.

- Our firm/company [and our subcontractors] has/have the following nationality:

Resident of Georgia

- We are making this tender in our own right [if consortium: as member in the consortium led by < name of the leader / ourselves >]. We confirm that we are not tendering for the same contract in any other form. [We confirm, as a member in the consortium, that all members are jointly and severally liable by law for the execution of the contract, that the lead member is authorised to bind, and receive instructions for and on behalf of, each member, that the execution of the contract, including payments, is the responsibility of the lead member, and that all members in the joint venture/consortium are bound to remain in the joint venture/consortium for the entire period of the contract's execution].

- We are not in any of the situations excluding us from participating in contracts which are listed section 2.3.3 of the Practical Guide to contract procedure for EU external actions. In the event that our tender is successful, we undertake, if required, to provide the proof usual under the law of the country in which we are established that we do not fall into these exclusion situations. The date on the evidence or documents provided will be no earlier than 1 year before the date of submission of the tender and, in addition, we will provide a statement that our situation has not altered in the period which has elapsed since the evidence in question was drawn up.

We also undertake, if required, to provide evidence of the financial and economic standing and the technical and professional capacity according to the selection criteria for this call for tender specified in the procurement notice, point 16 and other. documentary proofs required

We also understand that if we fail to provide the proof/evidence required, within 15 calendar days after receiving the notification of award, or if the information provided is proved false, the award may be considered null and void.

- We agree to abide by the ethics clauses in Clause 22 of the instructions to tenderers and, in particular, have no conflict of interests or any equivalent relation in that respect with other tenderers or other parties in the tender procedure at the time of the submission of this application.

- We will inform the Contracting Organization immediately if there is any change in the above circumstances at any stage during the implementation of the tasks. We also fully recognise and accept that any inaccurate or incomplete information deliberately provided in this application may result in our exclusion from this contract.

- We note that the Contracting Organization is not bound to proceed with this invitation to tender and that it reserves the right to award only part of the contract. It will incur no liability towards us should it do so.

- We fully recognise and accept that we may be excluded from tender procedures and contract. Furthermore, we acknowledge that, should we made false declarations, committed substantial errors, irregularities or fraud.

- We are aware that our personal data may be transferred to the Contracting Organization’s internal audit services for the purposes of this tender/contract.

Yours faithfully

Name and first name: <[…………………………………………………………………>

Duly authorised to sign this tender on behalf of:

<…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….>

Stamp of the firm/company

ANNEXES TO TENDER FORM

FOR A SUPPLY CONTRACT

Supply, Delivery, and Commissioning of Blueberry Juice Production Machinery and a 20 kW Ground-Mounted Solar Power Plant

Within the framework of the GIZ project grant agreement titled: Promoting Green Deal Readiness in the Eastern Partnership Countries (PROGRESS).

Publication reference:

073/RECC/G/GIZ/ProGress 2026 SC01

Part 1: Technical offer

Detailed description of the supplies tendered in conformity with the technical specifications, including any documentation required, including if applicable.

# General Instructions for Technical Specifications

- General Instructions

    - Description of the work

1.1.1 The subject of the contract is the  Supply, Delivery, and Commissioning of Blueberry Juice Production Machinery and a 20 kW Ground-Mounted Solar Power Plant1.1.2	The tenderer should ensure that the functions and features of the supplies (Equipment for Natural Juice Production and Solar Energy System Equipment) meet the listed minimum conditions.

1.2.	Technical Requirements

1.2.1.	As appropriate all the supplies shall be provided complete with the necessary accessories and/or parts such as to ensure that the unit is capable of operating to the required technical and quality specifications. All Technical Specifications provided for the various supplies are minimum requirements, Contractors are expected to offer current models which may exceed the requirements or have additional features not specified.

1.2.2.	The supplies are to be delivered in accordance with the notes in the Technical Specifications.

1.2.3.	The supplies provided should not be hybrids and should be a registered brand name.

1.2.4.	All supplies must be suitable for operation in the climatic conditions in Georgia.

1.2.5.	All supplies conforming to the necessary regulation/norm and/or equivalent as detailed in the individual Technical Specifications must carry a suitable badge/mark of conformity, permanently fixed to the item.

1.2.6.	Wherever a product name is mentioned in the Technical Specifications it is understood to mean that product or its direct equivalent.

1.2.7	If applicable, the Contracting Organization may be contacted for stickers with the project logos to be put on the supplies. Trademarks or brand logo should not be fixed and/or placed in a way to be seen easily and therefore be used as a company advertisement on the procured materials equipment.

1.2.8 Tenderers may also comply with the GIZ / REC Caucasus visibility guidelines.

1.3.	Warranty and product support services

1.3.1 The Contractor will be expected to provide a warranty for all the supplies with the Contracting Organization for minimum 12 months from the date of provisional acceptance, which must cover the following items:

1.3.2 The contractor shall warrant that the supplies are new, unused, of the most recent models and incorporate all recent improvements in design and materials, unless otherwise provided in the contract. The contractor shall further warrant that all supplies shall have no defect arising from design, materials or workmanship, except insofar as the design or materials are required by the specifications, or from any act or omission, that may develop under use of the supplies in the conditions obtaining in the country of  the contracting organization.

1.3.3. The contractor shall be responsible for making good any defect in, or damage to, any part of the supplies which may appear or occur during the warranty period and which:

a)   results from the use of defective materials, faulty workmanship or design of the contractor; and/or

b)   results from any act or omission of the contractor during the warranty period;

and/or

c)   appears in the course of an inspection made by, or on behalf of, the contracting organization.

1.3.4. The contractor shall at its own cost make  good  the  defect  or  damage  as  soon  as practicable. The warranty period for all items replaced or repaired shall recommence from the date when the replacement or repair was made to the satisfaction of the project coordinator. If the contract provides for partial acceptance, the warranty period shall be extended only for the part of the supplies affected by the replacement or repair.

1.3.5. If any such defect appears or such  damage  occurs  during  the  warranty  period,  the contracting organization or the project coordinator shall notify the contractor. If the contractor fails to remedy a defect or damage within the time limit stipulated in the notification, the contracting organization may:

a)   remedy the defect or the damage itself, or employ someone else to carry out the tasks at the contractor's risk and cost, in which case the costs incurred by the contracting organization shall be deducted from monies due to or from guarantees held against the contractor or from both; or

b)   terminate the contract.

1.3.6	If the Contractor appoints a local representative for his company, then the Contracting Organization expects that representative to provide a professional service of maintenance. The Contractor will remain responsible for the level of service which the representative delivers and will be answerable to the Contracting Organization in the event of any complaint.

1.3.7.	Repair or replace faulty parts or modules.

1.3.8	The contractor must prove evidence that facilities for warranty offered are available for supplies offered in the delivery point.

1.4	Technical documents to be included in the supply:

The required supplies, particularly but not exclusively, shall be provided with an original set of operating and maintenance manuals and user guides in Georgian and/or English, wherever necessary.

The following documents will be required from the Contractors for the provisional acceptance of each item:

- Report of final tests in the factory (Quality Control document) where applicable.

- Technical dossiers supporting technical standards and/or equivalent marking may be requested, where applicable.

ANNEX I - MODEL TECHNICAL OFFER

Contract title:

Supply, Delivery, and Commissioning of Blueberry Juice Production Machinery and a 20 kW Ground-Mounted Solar Power Plant

## Publication reference:  073/RECC/G/GIZ/ProGress 2026 SC01

Column 1-2 should be completed by the Contracting Organization

Column 3-4 should be completed by the tenderer

The tenderers are requested to complete the template on the next pages:

- Column 1- 2 is completed by the Contracting Organization shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the Selection Committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

Technical Specification    Ref. Number / 073/RECC/G/GIZ/ProGress 2026 SC01

LOT 1

|  | Items | Specifications Required | Specifications Offered (incl. brand/model) | Notes, remarks, ref. to documentation |
| --- | --- | --- | --- | --- |
| 1 | Automatic Desktop Liquid Filling Machine/ ნახევრად ავტომატური მინის ბოთლებში სითხის ჩამოსასხმელი მანქანა | - Power supply: 110/220V 50-60 HZ - Maximum flow velocity: 5500 ml/min (Each nozzle and base on water) - Working speed: 30-40 bottles/min(based on 50-1000 ml filling volume) - Air pressure: 0.3-0.4 MPa - Filling accuracy: ≤±1% (For water) - Diameter of Filling Nozzle: 6/8 mm - Delay Range: 0.01-999.9 s - Count Range: 1-99999 Times - Filling Volume: 3-1000 ml(220V) 3- 500 ml(110V) - Size of air compressor connector: OD8 mm - Bottle height:＜220 mm (Can be customized,max height 300 mm) - Package Size: About 1105*715*435 mm - Gross weight: About 66 kg |  |  |
| 2 | Desktop Bottle Capping Machine For Water Beverage Smoking Oil Bottles/ ნახევრად ავტომატური ბოთლის თავსახურის მანქანა | - Bottle Height: 100-300 mm - Bottle Caps Diameter: 20-60 mm(Max Custom Size 90 mm) - Working Speed: 20-60 bottles/minute (depending on bottle and caps) - Working Voltage: AC220V/110V 50-60HZ - Power: 120 W - Size of Air Compressor Connector: OD 8 mm - Working Mode: Manual/Automatic - Machine Size: 475* 350 *500 mm - Net Weight: 28 kg - Package Size: 670*370*580 mm - Gross Weight: 35.5 kg |  |  |
| 3 | Semi-automatic Round Jar Cosmetic Transparent Sticker Bottle Labeling Machine / ეტიკეტირების მანქანა თარიღის დამტანით | - Voltage/Frequency:110V/220V 50-60HZ 100W - Labeling speed:20-40pcs/min - Diameter of bottle:φ15-120mm - Min. label size:20*20mm - Max label size:150mm(W)* 230mm(L) - Outside diameter of label roll:φ275mm - Accuracy of labeling:±0.5mm - Inside diameter of label roll:φ75mm - Machine size:About 650*280*345mm - Machine weight:About 29kg - Package size:About 610*320*520mm - Package weight:About 36kg |  |  |
| 4 | Stainless steel table / უჟანგავი ფოლადის მაგიდა | Stainless steel table with shelf and sideboard Dimensions: 180*90*85 cm |  |  |
| 5 | Stainless steel tank / უჟანგავი ფოლადის ავზი | - Stainless steel tank with flat bottom - Volume: 100 liters - Polished surface, - Made of AISI 304 material, - Wall thickness 0.6 mm. |  |  |
| 6 | Stainless Steel Steam Juicer / უჟანგავი ფოლადის წვენის სახდელი | For Extract 100% pure juice from fruits and berries and steam cook complete meals - Material Stainless Steel - Color Stainless Steel - Brand OPA - Item dimensions L x W x H 11 x 16 inches - Shape Round - Includes a 10.5 Qt. Steamer Insert, 4.23 Qt. Water Pot, Silicon Tube, S/S Clamp, & lid. |  |  |
| 7 | Built-in Induction electric cooktop/ ინდუქციური გამაცხელებელი | - Surface Type: Electric - Construction: Induction - Number of Burners: 2 - Control Type: Sensor - 1 Electric Burner Power: 2000 W - 2 Electric Burner Power: 1500 W - Power Adjustment - Heating Zone Selection Control - Timer - Safety Lock - Overheating Protection - Surface Material: Glass-Ceramic - Voltage: 220-240 V - Frequency: 50-60 Hz - Size: 288 x 520 x 56 mm - Weight: 830 g - Color: Black |  |  |
| 8 | Accessorize / აქსესუარები | - Metric RTD 4-20 mA compact thermometer for industrial applications - Thermostat - Stainless steel filter - Video surveillance system with 1 month of recording archiving capability |  |  |

Name and first name: <…………………………………………………………………>

Duly authorized to sign this tender on behalf of:   <…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….> Stamp of the firm/company

LOT 2

|  | Items | Specifications Required | Specifications Offered (incl. brand/model) | Notes, remarks, ref. to documentation |
| --- | --- | --- | --- | --- |
| 1 | Installation of a 20 kW Ground-Mounted Solar Power Plant (Supply and Installation) 20 კვტ სიმძლავრის მზის სადგურის მიწის ზედაპირზე მონტაჟისთვის | Equipment Requirements Solar Panels: - Total Nominal Power: 20kW ±5%. - Module Type: Monocrystalline. - Minimum Module Efficiency: 18%. - Warranty: Minimum 10 years for the product and 20 years for power output performance (not less than 80%). - Protection Class: IP65. Inverter: - Capacity: Not less than 20 kW. - Efficiency: Minimum 96%. - Functions: On-grid operating mode, monitoring system (RS485/ethernet/Wi-Fi). - Protection Mechanisms: Overload, short circuit, and surge/voltage drop protection. Mounting Structure: - Ground-mount structure with mechanical stability against wind and snow loads (minimum ( 120 kg /m²). - Material: Aluminum or galvanized metal structure. - Corrosion protection. Additional Components: - Wires, cables, and protective equipment (grounding/earthing, switches, fuses). - Documentation in Georgian or English. Operating Conditions - Installation Site: Open area. - Orientation: South. - Tilt Angle: According to the geographical location. - Operating Temperature Range: –20°C to +60°C. Warranty and Service - Equipment Warranty: Minimum 10 years. - Installation Warranty: Minimum 2 years. Scope of Work - Supply of solar panels, inverter, and auxiliary equipment. - Installation of the ground-mount structure. - Cable routing and connection. - Testing, commissioning, and handover. - Training/instruction for the Customer’s personnel. Execution Deadlines - Delivery and Installation: Not more than 60 days from the date of contract signing. |  |  |

Name and first name: <…………………………………………………………………>

Duly authorized to sign this tender on behalf of:   <…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….> Stamp of the firm/company

Part 2: Financial offer

ANNEX II - BUDGET BREAKDOWN (MODEL FINANCIAL OFFER)

PUBLICATION REFERENCE:  073/RECC/G/GIZ/ProGress 2026 SC01

NAME OF TENDERER: 	 [……………………………]

LOT 1

|  | Items | Unit | Quantity | Unit Cost excl. VAT (GEL) | Total Cost excl. VAT (GEL) |
| --- | --- | --- | --- | --- | --- |
| 1 | Automatic Desktop Liquid Filling Machine | Nos | 1 |  |  |
| 2 | Semi-automatic Round Jar Cosmetic Transparent Sticker Bottle Labeling Machine | Nos | 1 |  |  |
| 3 | Semi-automatic Round Jar Cosmetic Transparent Sticker Bottle Labeling Machine | Nos | 1 |  |  |
| 4 | Stainless steel table | Nos | 5 |  |  |
| 5 | Stainless steel tank | Nos | 10 |  |  |
| 6 | Stainless Steel Steam Juicer | Nos | 10 |  |  |
| 7 | Built-in Induction electric cooktop | Pack | 10 |  |  |
| 8 | Accessories : | Metric RTD 4-20 mA compact thermometer for industrial applications - 2 Thermostat - 2 Stainless steel filter - 2 Video surveillance system with 1 month of recording archiving capability -1 |  |  |  |
|  | Sum Material Price |  |  |  |  |
|  | Cost of delivery and installation of the supplied goods in Khoni municipality village Kutiri |  |  |  |  |
| TOTAL [Sum Material Prices + Cost of delivery] |  |  |  |  |  |
| Discount (if any) |  |  |  |  |  |
| OVERAL PRICE [TOTAL - Discount (if any)] Reminder: The total price for this lot must not exceed the maximum budget of 50 000 GEL |  |  |  |  |  |

Name and first name: <…………………………………………………………………>

Duly authorized to sign this tender on behalf of:   <…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….> Stamp of the firm/company

LOT 2

|  | Items | Unit | Quantity | Unit Cost excl. VAT (GEL) | Total Cost excl. VAT (GEL) |
| --- | --- | --- | --- | --- | --- |
| 1 | 20 KW solar Panel | Pack |  |  |  |
|  | Sum Material Price |  |  |  |  |
|  | Cost of delivery and installation of the supplied goods in Khoni municipality village Kutiri |  |  |  |  |
| TOTAL [Sum Material Prices + Cost of delivery] |  |  |  |  |  |
| Discount (if any) |  |  |  |  |  |
| OVERAL PRICE [TOTAL - Discount (if any)] Reminder: The total price for this lot must not exceed the maximum budget of 24 000 GEL |  |  |  |  |  |

Name and first name: <[…………………………………………………………………>

Duly authorized to sign this tender on behalf of: <…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….>]

Stamp of the firm/company

## Warranty obligations ( LOT 1 )

Our Company provides a warranty for all the supplies with the Contractor Organization for  12 months from the date of provisional acceptance, which must cover the following items:

1.1. Our Company warrants that the supplies are new and unused. Our Company shall further warrant that all supplies shall have no defect that may develop under use of the supplies in the conditions obtaining in the country of the Contracting Organization (Georgia). This warranty shall remain valid as will be specified in the Special Conditions.

1.2. Our Company will be responsible for making good any defect in, or damage to, any part of the supplies which may appear or occur during the warranty period and which either:

- Results  from  the  use  of  defective  materials,  faulty  workmanship  or  design  of  Our Company ; and/or

- results from any act or omission of Our Company during the warranty period; or

- appears  in  the  course  of  an  inspection  made  by,  or  on  behalf  of,  the  Contracting Organization.

  - Our Company shall at his own cost make good the defect or damage as soon as practicable.  If the contract provides for partial acceptance, the warranty period shall be extended only for the part of the supplies affected by the replacement or repair.

  - If any such defect appears or such damage occurs during the warranty period, the Contracting Organization or the Project Coordinator shall notify Our Company. If Our Company   fails to remedy a defect or damage within the time limit stipulated in the notification, the Contracting Organization may:

- remedy the defect or the damage itself, or employ someone else to carry out the tasks at Our Company 's risk and cost, in which case the costs incurred by the Contracting Organization shall be deducted from monies due to or guarantees held against Our Company  or from both; or

- terminate the contract.

  - In emergencies, where Our  Company    cannot  be  reached  immediately  or,  having  been reached, is unable to take the measures required, the Contracting Organization or the Project Coordinator may have the work carried out at the expense of Our Company . The Contracting Organization or the Project Coordinator shall as soon as practicable inform Our Company  of the action taken.

  - The  warranty  obligations  shall  be  stipulated  in  the  Special  Conditions  and  technical

specifications. Duration of the warranty period is specified in the Special Conditions of the Contract.

Name and first name: <…………………………………………………………………>

Duly authorized to sign this tender on behalf of:   <…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….> Stamp of the firm/company

## Warranty obligations ( LOT 2 )

Our Company provides a warranty for all the supplies with the Contractor Organization for  Minimum 10 years for the product and 20 years for power output performance (not less than 80%) from the date of provisional acceptance, which must cover the following items:

1.1. Our Company warrants that the supplies are new and unused. Our Company shall further warrant that all supplies shall have no defect that may develop under use of the supplies in the conditions obtaining in the country of the Contracting Organization (Georgia). This warranty shall remain valid as will be specified in the Special Conditions.

1.2. Our Company will be responsible for making good any defect in, or damage to, any part of the supplies which may appear or occur during the warranty period and which either:

- Results  from  the  use  of  defective  materials,  faulty  workmanship  or  design  of  Our Company ; and/or

- results from any act or omission of Our Company during the warranty period; or

- appears  in  the  course  of  an  inspection  made  by,  or  on  behalf  of,  the  Contracting Organization.

  - Our Company shall at his own cost make good the defect or damage as soon as practicable.  If the contract provides for partial acceptance, the warranty period shall be extended only for the part of the supplies affected by the replacement or repair.

  - If any such defect appears or such damage occurs during the warranty period, the Contracting Organization or the Project Coordinator shall notify Our Company. If Our Company   fails to remedy a defect or damage within the time limit stipulated in the notification, the Contracting Organization may:

- remedy the defect or the damage itself, or employ someone else to carry out the tasks at Our Company 's risk and cost, in which case the costs incurred by the Contracting Organization shall be deducted from monies due to or guarantees held against Our Company  or from both; or

- terminate the contract.

  - In emergencies, where Our  Company    cannot  be  reached  immediately  or,  having  been reached, is unable to take the measures required, the Contracting Organization or the Project Coordinator may have the work carried out at the expense of Our Company . The Contracting Organization or the Project Coordinator shall as soon as practicable inform Our Company  of the action taken.

  - The  warranty  obligations  shall  be  stipulated  in  the  Special  Conditions  and  technical

specifications. Duration of the warranty period is specified in the Special Conditions of the Contract.

Name and first name: <…………………………………………………………………>

Duly authorized to sign this tender on behalf of:   <…………………………………………………………………………………… …>

Place and date: <…………………………………………………………….………….> Stamp of the firm/company

Part 3: Documentation

| 3.1 | Business Registration Extract on entity (or entities if consortium) from the Registry of Entrepreneurs and Non-entrepreneurial (Non-commercial) Legal Entities – issued after announcement date of this call by the National Agency of Public Registry (NAPR) www.napr.gov.ge ტენდერის გამოცხადების თარიღის შემდეგ განახლებული ამონაწერი მეწარმეთა და არასამეწარმეო (არაკომერციული) იურიდიული პირების რეესტრიდან |
| --- | --- |
| 3.2 | Certificate form from the Register of Debtors on entity (or entities if consortium) – issued after announcement date of this call by the National Bureau of Enforcement (NBE) www.nbe.gov.ge ტენდერის გამოცხადების თარიღის შემდეგ აღსრულების ეროვნული ბიუროს მიერ გაცემული ცნობა ან ამონაწერი ტენდერში მონაწილე იურიდიულ პირზე მოვალეთა რეესტრში არსებული მონაცემების შესახებ http://nbe.gov.ge/index.php?lang_id=GEO&sec_id=367 |
| 3.3 | Certificate on absence of tax arrears- issues after the announcement date of this call by the Revenues Services. https://www.rs.ge ტენდერის გამოცხადების თარიღის შემდეგ აღებული ცნობა ტენდერში მონაწილე ორგანიზაციაზე გაცემული ცნობა შემოსავლების სამსახურიდან, ბიუჯეტის მიმართ დავალიანების არ არსებობის შესახებ https://www.rs.ge |
| 3.4 | The details of the bank account issued by a tenderer’s service bank operating in Georgia into which payments should be made [Bank Details of Account in National Currency] ტენდერში მონაწილე იურიდიული პირის ეროვნულ ვალუტაში ანგარიშის საბანკო რეკვიზიტები (ელ.ვერსია) |